## Video & Instruction
qLearnify is an educational platform dedicated to the professional development of engineers and architects.
|  | Website: | https://qlearnify.com/
|  | Facebook: | https://www.facebook.com/qlearnify
|  | Youtube (Bangla): | https://www.youtube.com/@qlearnify-bn
|  | Youtube (English): | https://www.youtube.com/@qlearnify-en
|  | WhatsApp: | https://wa.me/8801511250108
|  | LinkedIn: | https://www.linkedin.com/company/qlearnify/
Note: This Excel sheet has been created for educational purposes; please validate it according to your own standards before using it for professional work.
Bangla: | https://youtube.com/playlist?list=PLxle8F-wJI7P43K0GljphED4I5TRXu6Zx&si=el-Lrxm5mB1Vmgcf
English: | https://youtube.com/playlist?list=PLTscI_CLWNfB_1x6_7zylwLZWo7mKypCq&si=QzFh_rJa61GU0YNW
Video Tutorial

## MWFRS (Any Ht.)
Input Data
Calculation
| Location= | Dhaka | Sec-2.4.4 & Table-6.2.8 | [9 empty] | Roof Angle, θ = | 0 |  |  | N TO R | P TO R
| Occupancy Category= | II | Sec-1.2.3 & Table-6.1.1 | [9 empty] | Mean Roof Ht., h = | 33.5366 | m |  | 89 | 76
| Exposure Type= | A | Sec-2.4.6 | [9 empty] | Lesser of L or B = | 76 | ft |  | 76 | 89
| Ridge Height, hr = | 110 | ft. (hr >= he)
| Eave Height, he = | 110 | ft. (he <= hr) | [9 empty] | hr= | 33.5366 | m | Normal | L= | 76 | ft.
| Building Width = | 89 | ft. (Normal to Building Ridge-X) | [9 empty] | he= | 33.5366 | m | Parallel | B= | 89 | ft.
| Building Length= | 76 | ft. (Parallel to Building Ridge-Y) | [9 empty] | B= | 27.1341 | m
| Wind Direction= | Parallel | (Normal or Parallel to building ridge) | [9 empty] | L= | 23.1707 | m
| Roof Types= | Gable | [10 empty] | h= | 33.5366 | m
| Enclosure Classification= | EB | [10 empty] | Check 'Low-Rise' Criteria:
| Damping Ratio, β = | 0.05 | (Suggested Range = 0.010-0.070) | [9 empty] | Is h <= 60'? | NO
| Structure Type= | TYPE-1 | [10 empty] | Is h <= Lesser L,B? | No
| Structure Frame type= | CMRF | (Sect. 2.4.7 & Figure 6.2.4) | [9 empty] | V= | 65.7 | m/s
| Topo. Factor, Kzt = | 1
[13 empty] | Structure type | CMRF
| Parameters and Coefficients Calculation: | [11 empty] | Ct= | 0.0466
[13 empty] | m= | 0.9
| Roof Angle, θ = | 0 | deg | [9 empty] | T= | 1.0999 | Sec.
| Mean Roof Ht., h = | 110 | ft. (h = he, for angle <=10 deg.) | [9 empty] | n1/f= | 0.90917 | Hz
| Check Criteria for a Low-Rise Building: | [11 empty] | Is Building Flexible? | Yes
| 1. Is h <= 60' ? | No, Violation!
| 2. Is h <= Lesser of L or B? | No, Violation!
[13 empty] | Velocity Pressure Exposure Coefficients |  |  |  | A_Case1 | 2 | A | A_Case2 | A_Case2
| Structure Conditions: | [15 empty] | A_Case2 | 3 | B | B
[13 empty] | Case No= | A_Case2 | 3 |  | B | 4 | C | C
| T= | 1.0999 | = Ct*h^m , sec. (Approximate fundamental period) | [13 empty] | C | 5
| f= | 0.90917 | = 1/T , Hz. (Natural Frequency)
Positive & Negative Internal Pressure Coefficients, GCpi
| Is Building Flexible? | Yes | f < 1 Hz. | [9 empty] | GCpi= | 0.18
[13 empty] | + GCpi (PIPC) | 0.18
| Velocity Pressure Exposure Coefficients, Kh and Kz: | [11 empty] | - GCpi (PIPC) | -0.18
| Kh= | 0.99 | Sec-2.4.6.6 & Table-6.2.11
[13 empty] | Topo. Factor, Kzt = | 1
Directionality Factor, Kd:
| Kd= | 0.85 | Sec-2.4.6.6 & Table-6.2.11
Wall Pressure Coefficients, Cp
| Gust Factor, G or Gf: | [11 empty] | h/L= | 1.4474
[13 empty] | L/B= | 0.85393
| G= | N.A. | Sec-2.4.8.1 | [9 empty] | Windward= | 0.8
| Gf= | 0.85942 | Sec-2.4.8.2 | [9 empty] | Leeward= | -0.5
|  | 0.85942 | [10 empty] | Side= | -0.7
| Importantce Factor, I: | [11 empty] | Importantce Factor (I)= | 1
[13 empty] | Kd= | 0.85
| I= | 1 | Sec-2.4.5 & Table-6.2.9
[13 empty] | Use: G/Gf= | 0.85942
Wall or Roof Presssure Coefficients, Cp:
| WindWard= | 0.8 | Figure-6.2.6 | [9 empty] | Velocity Pressure Exposure Coefficients, Kh and Kz:
| LeeWard= | -0.5
| Side= | -0.7 | [10 empty] | α= | 7
[13 empty] | Zg= | 365.76 |  |  | Kz= | #NAME?
[13 empty] | z for qi= | 33.5366
[13 empty] | Kz= | 1.0156
[13 empty] | qi= | 2.2842
| Z (ft) | Z (m) | Kz | qz | Wind ward, P (KN/m^2) |  | Lee Ward, P (All) (KN/m^2) |  | Side Walls, P (All) (KN/m^2) |  | Final (Z)
|  |  |  | KN/m^2 | + GCpi | -GCpi | + GCpi | -GCpi | + GCpi | -GCpi
1 | 10 | 3.0488 | 0.57465 | 1.2924 | 0.47745 | 1.2998 | -1.3927 | -0.57038 | -1.7853 | -0.96299 | 3.0488
2 | 20 | 6.0976 | 0.624 | 1.4034 | 0.55377 | 1.3761 |  |  |  |  | 6.0976
3 | 30 | 9.1463 | 0.70064 | 1.5758 | 0.67228 | 1.4946 |  |  |  |  | 9.1463
4 | 40 | 12.1951 | 0.76066 | 1.7108 | 0.7651 | 1.5874 |  |  |  |  | 12.1951
5 | 50 | 15.2439 | 0.81074 | 1.8234 | 0.84253 | 1.6648 |  |  |  |  | 15.2439
6 | 60 | 18.2927 | 0.85409 | 1.9209 | 0.90957 | 1.7319 |  |  |  |  | 18.2927
7 | 70 | 21.3415 | 0.89255 | 2.0074 | 0.96904 | 1.7913 |  |  |  |  | 21.3415
8 | 80 | 24.3902 | 0.92726 | 2.0855 | 1.0227 | 1.845 |  |  |  |  | 24.3902
9 | 90 | 27.439 | 0.959 | 2.1569 | 1.0718 | 1.8941 |  |  |  |  | 27.439
10 | 100 | 30.4878 | 0.9883 | 2.2228 | 1.1171 | 1.9394 |  |  |  |  | 30.4878
11
12 | 555 | 169.2073 | 1.6127 | 3.6271 | 2.0826 | 2.9049 |  |  |  |  | 169.2073
13
14
15
16
17
18
19
20
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok | ok
q o
Width
Length
hr
he
h<=60'
Wind
Plan
Elevation
L
e1 & e2 Cal.
Soft. Input
Note on C6: The basic wind speed, used in the determination of design wind loads on buildings and other structures shall be as given in Table 6.2.8 except as provided in Sec 2.4.4. The wind shall be assumed to come from any horizontal direction.
Note on C7: Use or Occupancy of Buildings and Structures Occupancy Category Buildings and other structures that represent a low risk to human life in the event of failure I All buildings and other structures except those listed in Risk Categories I, III, and IV II Buildings and other structures, the failure of which could pose a substantial risk to human life. III Buildings and other structures, not included in Risk Category IV, with potential to cause a substantial economic impact and/or mass disruption of day-to-day civilian life in the event of failure. Buildings and other structures not included in Risk Category IV (including, but not limited to, facilities that manufacture, process, handle, store, use, or dispose of such substances as hazardous fuels, hazardous chemicals, hazardous waste, or explosives) containing toxic or explosive substances where their quantity exceeds a threshold quantity established by the authority having jurisdiction and is sufficient to pose a threat to the public if released. Buildings and other structures designated as essential facilities. IV Buildings and other structures, the failure of which could pose a substantial hazard to the community. Buildings and other structures (including, but not limited to, facilities that manufacture, process, handle, store, use, or dispose of such substances as hazardous fuels, hazardous chemicals, or hazardous waste) containing sufficient quantities of highly toxic substances where the quantity exceeds a threshold quantity established by the authority having jurisdiction to be dangerous to the public if released and is sufficient to pose a threat to the public if released.a Buildings and other structures required to maintain the functionality of other Risk Category IV structures. a Buildings and other structures containing toxic, highly toxic, or explosive substances shall be eligible for classification to a lower Risk Category if it can be demonstrated to the satisfaction of the authority having jurisdiction by a hazard assessment as described that a release of the substances is commensurate with the risk associated with that Risk Category.
Note on C8: Surface Roughness Categories for the purpose of assigning Exposure Category are defined as follows: Surface Roughness "A": Urban and suburban areas, wooded areas or other terrain with numerous closely spaced obstructions having the size of single family dwellings or larger. Surface Roughness "B": Open terrain with scattered obstructions having heights generally < 30 ft. This category includes flat open country and grass lands. Surface Roughness "C": Flat, unobstructed areas and water surfaces. This category includes smooth mud flats, salt flats, and unbroken ice. Exposure Categories are defined as follows: Exposure "A": Exposure A shall apply where the ground surface roughness condition, as defined by Surface Roughness A, prevails in the upwind direction for a distance of at least 2600 ft. or 20 times the building height, whichever is greater. Exception: For buildings whose mean roof height <= 30 ft., the upwind distance may be reduced to 1500 ft. Exposure "B": Exposure C shall apply for all cases where exposures A and C do not apply. Exposure "C": Exposure C shall apply where the ground surface roughness, as defined by Surface Roughness C, prevails in the upwind diection for a distance >= 5,000 ft. or 20 times the building height, whichever is greater. Exposure C shall extend into downwind areas of Surface Roughness A or B for a distance of 600 ft. or 20 times the height of the building, whichever is greater.
Note on C10: Engr Hedaetullah: The eave height, 'he', is the distance from the ground surface adjacent to the building to the roof eave line at a particular wall. If the height of the eave varies along the wall, the average height shall be used.
Note on C14: This program assumes that a Gable roof is symmetrical, as the ridge line is assumed in the center of the building width. For flat roofs (roof angle = 0 degrees), either Gable or Monoslope may be used.
Note on C15: # Enclosure Classification Open Building --> OB Partially Enclosed Building --> PEB Enclosed Building --> EB ------------------------------------------ 1. An enclosed building is a building that does not comply with the requirements for open or partially enclosed buildings. 2. An open building is a structure having all walls at least 80% open. 3. A partially enclosed building complies with both of the following conditions: a. the total area of openings in a wall that receives positive external pressure exceeds the sum of the areas of the openings in the balance of the building envelope (walls and roof) by more than 10%; and b. the total area of openings in a wall that receives positive external pressure exceeds 4 sq ft or 1% of the area of that wall, whichever is smaller, and the % of openings in balance of the building envelope does not exceed 20%. ------------------------------------------- Note: 1. Plus and minus signs signify pressures acting toward and away from the internal surfaces, respectively. 2. Values of GCpi shall be used with qz or qh as specified in Sec 2.4.11. 3. Two cases shall be considered to determine the critical load requirements for the appropriate condition: (i) a positive value of GCpi applied to all internal surfaces (ii) a negative value of GCpi applied to all internal surfaces.
Note on C16: The Damping Ratio, b, is the percent of critical damping. It is only used in the calculation of the Gust Factor, Gf, when a building is considered "flexible". A building is considered "flexible" when it has a natural frequency, f < 1 hz. Otherwise the building is considered "rigid". Suggested range of values is from 0.010 to 0.070 as indicated below: Material/Construction b (Damping Ratio) Welded steel, 0.01 to 0.02 prestressed concrete Reinforced concrete 0.03 to 0.05 Bolted or riveted steel, 0.05 to 0.07 wood Note: if the building is "flexible", the smaller the value of the damping ratio, the larger the gust effect factor, Gf, becomes.
Note on C17: Select Types of Structures:- ------------------------------------- Buildings-Main Wind Force Resisting System -- TYPE-1 Buildings-Components and Cladding --TYPE-2 Arched Roofs -- TYPE-3 Chimneys, Tanks, and Similar Structures-Square -- TYPE-4 Chimneys, Tanks, and Similar Structures-Hexagonal -- TYPE-5 Chimneys, Tanks, and Similar Structures-Round -- TYPE-6 Open Signs and Lattice Framework -- TYPE-7 Trussed Towers-Triangular, square, rectangular -- TYPE-8 Trussed Towers-All other cross section -- TYPE-9
Note on C18: Structure Frame Types: Concrete moment-resisting frames- (CMRF) Steel moment-resisting frames - (SMRF) Eccentrically braced steel frame - (EBSF) All other structural systems - (AOSS)
Note on C19: The Topographic Factor, Kzt, accounts for effect of wind speed-up over isolated hills and escarpments (Sect. 26.8 and Fig. 26.8-1). Kzt = (1+K1*K2*K3)^2 (Eq. 26.8-1), where: H = height of hill or escarpment relative to the upwind terrain, in feet. Lh = Distance upwind of crest to where the difference in ground elevation is half the height of hill or escarpment, in feet. K1 = factor to account for shape of topographic feature and maximum speed-up effect. K2 = factor to account for reduction in speed-up with distance upwind or downwind of crest. K3 = factor to account for reduction in speed-up with height above local terrain. x = distance (upwind or downwind) from the crest to the building site, in feet. z = height above local ground level, in feet. The effect of wind speed-up shall not be required to be considered (Kzt = 1.0) when H/Lh < 0.2, or H < 15' for Exposures 'C' and 'D', or H < 60' for Exposure 'B'.
Note on C35: Buildings which have a natural frequency, f >= 1 Hz are considered "rigid". Buildings which have a natural frequency, f < 1 Hz are considered "flexible".
Note on C47: G for Rigid Structures ; if Nstural Frequency, f<1
Note on C48: Gf for Flexible or dynamically Sensitive Structures ; if Natural Frequency, f>=1

## e1 & e2 ratio Cal.
Data From Etabs |  |  |  |  | Output Data For Etabs |  |  |  | Rigid |  |  | N TO R | P TO R
1 | XCM | YCM | XCR | YCR | eR1 | eR2 | e1 | e2 | ex/Bx | ey/By |  | 27.1341 | 23.1707
2 | m | m | m | m | [6 empty] | Parallel | 23.1707 | 27.1341
3 | 5.461 | 9.7615 | 5.3787 | 10.2195 | 0.0823 | 0.458 | 0.14735 | 0.17692 | 0.0035519 | 0.016879
4 | 5.478 | 5.5817 | 5.4829 | 8.9978 | 0.0049 | 3.4161 | 0.14618 | 0.64852 | 0.00021147 | 0.1259
5 | 5.431 | 5.5344 | 5.4748 | 9.2175 | 0.0438 | 3.6831 | 0.14651 | 0.69336 | 0.0018903 | 0.13574
6 | 5.431 | 5.5344 | 5.4712 | 9.4348 | 0.0402 | 3.9004 | 0.14646 | 0.7299 | 0.0017349 | 0.14375
7 | 5.431 | 5.5344 | 5.4843 | 9.514 | 0.0533 | 3.9796 | 0.14667 | 0.74323 | 0.0023003 | 0.14666
8 | 5.431 | 5.5344 | 5.5075 | 9.1773 | 0.0765 | 3.6429 | 0.14719 | 0.68661 | 0.0033016 | 0.13426 |  |  | 0.90917 | Final Value (Flx)
9 | 5.3218 | 5.8101 | 5.4259 | 6.9971 | 0.1041 | 1.187 | 0.14804 | 0.28105 | 0.0044927 | 0.043746 |  | Final Value |  | e1= | 0.14819
10 | 5.3107 | 8.1979 | 5.4189 | 9.1649 | 0.1082 | 0.967 | 0.14819 | 0.2471 | 0.0046697 | 0.035638 |  | e1= | 0.14819 | e2= | 0.74323
11 | [11 empty] | e2= | 0.74323 | Final Value (Rgd)
12 | [13 empty] | e1= | 0.0046697
13 | [13 empty] | e2= | 0.14666
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
Data Input
Soft. Input

## Software Input
This is the Poperty of School of civil Engineering
This Channel are Manageing By Engr Hedaetullah And N.J. Disha (B.Sc. In Civil Engineering)
Support us And stay connected
This file is only for edicational Perpose. Pls don't misuse it.
Required Data For Etbas Input
For BNBC 2020, ASCE 7-05, ASCE 7-10
Basic Wind Speed (mph) | 146.967
Importance Factor (I) | 1
Directionality Factor (Kd) | 0.85
Exposure type | A
Topographical Factor (Kzt) | 1
Gust Factor | 0.85942
e1 | 0.14819
e2 | 0.74323
Windward- (Cp) | 0.8
LeeWard- (Cp) | 0.5
Data Input
e1 & e2 Cal.

## BNBC 20 Data (hidden)
Table 6.2.8: Basic Wind Speeds, V, for Selected Locations in Bangladesh |  | Table 6.2.9: Importance Factor, I (Wind Loads)
Location | Basic Wind Speed (m/s) | Occupancy Category | Cyclone Prone Regions with V = 38-44 m/s | Cyclone Prone Regions with V > 44 m/s |  | Structure Type |  | Directionality Factor Kd | Structure type |  | Ct | m
Angarpota | 47.8 | I | 0.87 | 0.77 |  | Buildings-Main Wind Force Resisting System | TYPE-1 | 0.85 | Concrete moment-resisting frames | CMRF | 0.0466 | 0.9
Bagerhat | 77.5 | II | 1 | 1 |  | Buildings-Components and Cladding | TYPE-2 | 0.85 | Steel moment-resisting frames | SMRF | 0.0724 | 0.8
Bandarban | 62.5 | III | 1.15 | 1.15 |  | Arched Roofs | TYPE-3 | 0.85 | Eccentrically braced steel frame | EBSF | 0.0731 | 0.75
Barguna | 80 | IV | 1.15 | 1.15 |  | Chimneys, Tanks, and Similar Structures-Square | TYPE-4 | 0.9 | All other structural systems | AOSS | 0.0488 | 0.75
Barisal | 78.7 |  |  |  |  | Chimneys, Tanks, and Similar Structures-Hexagonal | TYPE-5 | 0.95
Bhola | 69.5 |  |  |  |  | Chimneys, Tanks, and Similar Structures-Round | TYPE-6 | 0.95
Bogra | 61.9 |  |  |  |  | Open Signs and Lattice Framework | TYPE-7 | 0.85
Brahmanbaria | 56.7 |  |  |  |  | Trussed Towers-Triangular, square, rectangular | TYPE-8 | 0.85 | Velocity Pressure Exposure Coefficients, Kh and Kz
Chandpur | 50.6 |  |  |  |  | Trussed Towers-All other cross section | TYPE-9 | 0.95 | Height above ground level, z (m) | A |  | B | C
Chapai Nawabganj | 41.4 | Roof Types | [7 empty] | Case 1 | Case 2 | Case 1 & 2 | Case 1 & 2
Chittagong | 80 | Gable | [6 empty] | 4.6 | 0.7 | 0.57 | 0.85 | 1.03
Chuadanga | 61.9 | Monoslope | [6 empty] | 6.1 | 0.7 | 0.62 | 0.9 | 1.08
Comilla | 61.4 | [7 empty] | 7.6 | 0.7 | 0.66 | 0.94 | 1.12
Cox’s Bazar | 80 | Yes | [6 empty] | 9.1 | 0.7 | 0.7 | 0.98 | 1.16
Dahagram | 47.8 | No | [6 empty] | 12.2 | 0.76 | 0.76 | 1.04 | 1.22
Dhaka | 65.7 | [7 empty] | 15.2 | 0.81 | 0.81 | 1.09 | 1.27
Dinajpur | 41.4 | [7 empty] | 18 | 0.85 | 0.85 | 1.13 | 1.31
Faridpur | 63.1 | Figure 6.2.5 Internal pressure coefficient, GCpi main wind force resisting system component and cladding - Method 2 (All Heights) | [6 empty] | 21.3 | 0.89 | 0.89 | 1.17 | 1.34
Feni | 64.1 | [7 empty] | 24.4 | 0.93 | 0.93 | 1.21 | 1.38
Gaibandha | 65.6 | Enclosure Classification |  | GCpi |  |  |  |  | 27.41 | 0.96 | 0.96 | 1.24 | 1.4
Gazipur | 66.5 | Open Building | OB | 0 |  |  |  |  | 30.5 | 0.99 | 0.99 | 1.26 | 1.43
Gopalganj | 74.5 | Partially Enclosed Building | PEB | 0.55 |  |  |  |  | 36.6 | 1.04 | 1.04 | 1.31 | 1.48
Habiganj | 54.2 | Enclosed Building | EB | 0.18 |  |  |  |  | 42.7 | 1.09 | 1.09 | 1.36 | 1.52
Hatiya | 80 | [7 empty] | 48.8 | 1.13 | 1.13 | 1.39 | 1.55
Ishurdi | 69.5 | [7 empty] | 54.9 | 1.17 | 1.17 | 1.43 | 1.58
Joypurhat | 56.7 | [7 empty] | 61 | 1.2 | 1.2 | 1.46 | 1.61
Jamalpur | 56.7 | [7 empty] | 76.2 | 1.28 | 1.28 | 1.53 | 1.68
Jessore | 64.1 | [7 empty] | 91.4 | 1.35 | 1.35 | 1.59 | 1.73
Jhalakati | 80 | [7 empty] | 106.7 | 1.41 | 1.41 | 1.64 | 1.78
Jhenaidah | 65 | Figure-6.2.6 Wall Pressure Coefficients, Cp | [6 empty] | 121.9 | 1.47 | 1.47 | 1.69 | 1.82
Khagrachhari | 56.7 | Surface | L/B | Cp | Use With |  |  |  | 137.2 | 1.52 | 1.52 | 1.73 | 1.86
Khulna | 73.3 | Windward Wall | All values | 0.8 | qz |  |  |  | 152.4 | 1.56 | 1.56 | 1.77 | 1.89
Kutubdia | 80 | Leeward Wall | 0-1 | -0.5 | qh |  |  |  | Notes:
Kishoreganj | 64.7 |  | 2 | -0.3 |  |  |  |  | 1. Case 1:
Kurigram | 65.6 |  | > 4 | -0.2 |  |  |  |  | (a) All components and cladding.
Kushtia | 66.9 | Side Wall | All values | -0.7 | qh |  |  |  | (b) Main wind force resisting system in low-rise buildings designed using Figure 6.2.10. Case 2:
Lakshmipur | 51.2 | [7 empty] | (a) All main wind force resisting systems in buildings except those in low-rise buildings designed using Figure 6.2.10.
Lalmonirhat | 63.7 | [7 empty] | (b) All main wind force resisting systems in other structures.
Madaripur | 68.1 | [7 empty] | 2. The velocity pressure exposure coefficient Kz may be determined from the following formula: For 4.57 m ≤ z ≤zg: Kz = 2.01 (z/zg)2/α
Magura | 65 | [7 empty] | For z < 4.57 m: Kz = 2.01 (4.57/zg)2/a
Manikganj | 58.2 | [7 empty] | Note: z shall not be taken less than 9.1 m for Case 1 in exposure A.
Meherpur | 58.2 | [7 empty] | 3. α and zg are tabulated in Table 6.2.3.
Maheshkhali | 80 | [7 empty] | 4. Linear interpolation for intermediate values. of height z is acceptable.
Moulvibazar | 53 | [7 empty] | 5. Exposure categories are defined in Sec 2.4.6.3.
Munshiganj | 57.1
Mymensingh | 67.4
Naogaon | 55.2
Narail | 68.6
Narayanganj | 61.1
Narsinghdi | 59.7
Natore | 61.9
Netrokona | 65.6
Nilphamari | 44.7
Noakhali | 57.1
Pabna | 63.1
Panchagarh | 41.4
Patuakhali | 80
Pirojpur | 80
Rajbari | 59.1
Rajshahi | 49.2
Rangamati | 56.7
Rangpur | 65.3
Satkhira | 57.6
Shariatpur | 61.9
Sherpur | 62.5
Sirajganj | 50.6
Srimangal | 50.6
St. Martin’s Island | 80
Sunamganj | 61.1
Sylhet | 61.1
Sandwip | 80
Tangail | 50.6
Teknaf | 80
Thakurgaon | 41.4

## Gust Factor Cal. (hidden)
For Rigid Structure
Lz (bar)= | 123.142 | C= | 0.3
Q= | 0.84415 |  | 0.33333
Iz(bar) = | 0.267 | Ehos z bar= | 20.122
G= | 0.83752 | l (m) = | 97.54
Table 6.2.10: Terrain Exposure Constants
|  | Exposure | α | Zg (m) | â |  | ᾱ |  | c | l (m) |  | zmin (m)*
|  | A | 7 | 365.76 | 0.14286 | 0.84 | 0.25 | 0.45 | 0.3 | 97.54 | 0.33333 | 9.14
|  | B | 9.5 | 274.32 | 0.10526 | 1 | 0.15385 | 0.65 | 0.2 | 152.4 | 0.2 | 4.57
|  | C | 11.5 | 213.36 | 0.086957 | 1.07 | 0.11111 | 0.8 | 0.15 | 198.12 | 0.125 | 2.13
For Flexible Structure
|  |  |  | V= | 65.7 | m/s |  |  | Dhaka
0.45
|  |  |  | ᾱ= | 0.25
35.2124
|  |  |  | f/n1= | 0.90917 | Hz
|  |  |  | Rh= | 0.21955 |  |  |  | Ƞ= | 3.9832
|  |  |  | RB= | 0.26223 |  |  |  | Ƞ= | 3.2227
|  |  |  | RL= | 0.10265 |  |  |  | Ƞ= | 9.2132
|  |  |  | N1= | 3.1795
|  |  |  | Rn= | 0.067388
|  |  |  | R= | 0.21182
|  |  |  | gR= | 4.1667
|  |  |  | gQ= | 3.4
|  |  |  | gV= | 3.4
|  |  |  | Gf= | 0.85942
∈ ̅
=
𝒃 ̅=
𝒃 ̂
=
∈ ̅=
=
𝑉 ̅_𝑧 ̅ =
𝒃 ̅

## Kh and Kz Cal. (hidden)
T 6.2.11 Velocity Pressure Exposure Coefficients, Kh and Kz
Height above ground level, z (m) | A |  | B | C
| Case 1 | Case 2 | Case 1 & 2 | Case 1 & 2
0 | 0.7 | 0.57 | 0.85 | 1.03
4.6 | 0.7 | 0.57 | 0.85 | 1.03
6.1 | 0.7 | 0.62 | 0.9 | 1.08 | 33.5366
7.6 | 0.7 | 0.66 | 0.94 | 1.12 | 0.99
9.1 | 0.7 | 0.7 | 0.98 | 1.16
12.2 | 0.76 | 0.76 | 1.04 | 1.22
15.2 | 0.81 | 0.81 | 1.09 | 1.27
18 | 0.85 | 0.85 | 1.13 | 1.31
21.3 | 0.89 | 0.89 | 1.17 | 1.34
24.4 | 0.93 | 0.93 | 1.21 | 1.38
27.41 | 0.96 | 0.96 | 1.24 | 1.4
30.5 | 0.99 | 0.99 | 1.26 | 1.43
36.6 | 1.04 | 1.04 | 1.31 | 1.48
42.7 | 1.09 | 1.09 | 1.36 | 1.52
48.8 | 1.13 | 1.13 | 1.39 | 1.55
54.9 | 1.17 | 1.17 | 1.43 | 1.58
61 | 1.2 | 1.2 | 1.46 | 1.61
76.2 | 1.28 | 1.28 | 1.53 | 1.68
91.4 | 1.35 | 1.35 | 1.59 | 1.73
106.7 | 1.41 | 1.41 | 1.64 | 1.78
121.9 | 1.47 | 1.47 | 1.69 | 1.82
137.2 | 1.52 | 1.52 | 1.73 | 1.86
152.4 | 1.56 | 1.56 | 1.77 | 1.89
Notes:
1. Case 1:
(a) All components and cladding.
(b) Main wind force resisting system in low-rise buildings designed using Figure 6.2.10. Case 2:
(a) All main wind force resisting systems in buildings except those in low-rise buildings designed using Figure 6.2.10.
(b) All main wind force resisting systems in other structures.
2. The velocity pressure exposure coefficient Kz may be determined from the following formula: For 4.57 m ≤ z ≤zg: Kz = 2.01 (z/zg)2/α
For z < 4.57 m: Kz = 2.01 (4.57/zg)2/a
Note: z shall not be taken less than 9.1 m for Case 1 in exposure A.
3. α and zg are tabulated in Table 6.2.3.
4. Linear interpolation for intermediate values. of height z is acceptable.
5. Exposure categories are defined in Sec 2.4.6.3.